## Sheet1
Protocols | Architecture | Collection Side | Simulators | Python-libraries | Data handling | Communication Type
Modbus | Master-Slave | Master | mbslave, mbpoll(master), vinci software | pymodbus | Register-based, binary/analaog data polling only | Serial(RTU), TCP/IP
Profinet | Client-server | Client | ProfinetCommander(client), server(not available) | profi-dcp, pnio_dcp(only for discovery and config) | Real-time | Serial, TCP/IP
IEC104 | Master-Slave | Master | Freyr SCADA IEC104, Vinci software | c104, iec104-python | periodic, Event-based | TCP/IP
DNP3 | Master-Slave | Master | Freyr SCADA DNP simulator, axon test simulator | pydnp3, dnp3-python, opendnp3 | Time-stamped, Binary/Analog data, event based | Serial, TCP/IP, UDP
OPC | Client-server | Client | uaexpert | opcua | Real-time data, Event-driven | TCP/IP, DCOM, HTTP